## Slide 1: Advanced GEMS Course
Lesson 5B
Ventilators

## Slide 2: Objectives
Explain how to manage high- and low-pressure alarms.
Become familiar with the DOPE mnemonic.
Explain how to disassemble and reassemble components of a tracheostomy.
Use standard ALS equipment in place of the patient’s tracheostomy equipment.
Notes: INSTRUCTOR NOTES AND TIPS By the end of Lesson 5B, participants should be able to:
Explain how to manage high- and low-pressure alarms.
Become familiar with the DOPE mnemonic.
Explain how to disassemble and reassemble components of a tracheostomy.
Use standard ALS equipment in place of the patient’s tracheostomy equipment.

## Slide 3: Dispatch
The triage officer has assigned your transport unit to Mrs. Agnus Williams, a 72-year-old female patient in Room 108, Bed 2. She is a stable patient who is ventilator dependent. Your crew will be transporting her to Western Hills Nursing Home. Bed assignment will be distributed upon arrival. Check in with the logistics officer upon your return to inform them of the patient’s status on arrival as well as bed assignment and receiving facility staff.
Notes: INSTRUCTOR NOTES AND TIPS
Western Hills is 16 miles away.

## Slide 4: Note to Instructors
At this time, break participants out into individual case scenarios OR continue with slide presentation for group discussion.

## Slide 5: Initial Observation
The patient is being evacuated due to the flood.
There’s no chief complaint noted.
The patient is a native Haitian who spoke Creole before her CVA. Now she’s obtunded.
The patient has a tracheostomy, ventilator, Foley catheter, J-tube, and PICC line.
Notes: INSTRUCTOR NOTES AND TIPS
Scene safe: Secure
Situation: Evacuation relocation
Cultural: Native Haitian (Creole)
Communication: Obtunded
Medical devices: Tracheostomy and ventilator
Chief complaint: N/A

## Slide 6: Primary Survey
LOC: Responsive to painful stimuli
Airway: Tracheostomy
Breathing: Controlled by ventilator
Circulation: Normal pulse and skin condition
Sick or not sick?
Notes: INSTRUCTOR NOTES AND TIPS
Level of consciousness: Painfully responsive, which is baseline
Airway: Secured with tracheostomy
Breathing: Controlled by ventilator; rhonchi noted with normal chest rise and fall
Circulation: Normal pulse and skin
First impression: Not sick; no life threats; management is supportive
Differential diagnosis: N/A

## Slide 7: GEMS Assessment
G: 72 years old
E: Skilled nursing facility with 3 other patients in room
M: Diabetes, AMI, HTN, status post-CVA causing current mental status, pneumonia
S: Son visits once a month and is the POA
Notes: INSTRUCTOR NOTES AND TIPS
Geriatric: 72-year-old residing in a skilled nursing facility
Environmental: Skilled nursing facility with 3 other patients in the room
Medical: Diabetes, AMI, HTN, status post-CVA causing current mental status, pneumonia
Social: Son visits once a month and is the POA

## Slide 8: Pre-transport Check
Patient status: Breathing well
Vent settings: SIMV
  RR: 10, Vt: 300
  PEEP: 5
  Ratio 1:2
  O2: 35%,
  Sensitivity: –1
  High-pressure alarm: 40, low-pressure alarm: 10
Notes: INSTRUCTOR NOTES AND TIPS
Patient status: Breathing adequately
Vent settings:
  Mode: SIMV/Volume. Discuss the home vent.
  Rate: 10. Discuss the rate and how it may be determined.
  Tidal volume: 300 mL (5’4”). Discuss Vt and why body size and age play a role.
  PEEP: 5 cmH2O. Discuss PEEP and the role it plays in vented patients and why it matters in older patients.
  I:E ratio: 1:2
  O2: 35%. Discuss O2 settings and how and why they are set at the %.
  Sensitivity: –1
  High pressure: 30. Discuss pressure settings and alarms.
  Low pressure: 10. Discuss pressure settings and alarms.

## Slide 9: Pre-transport Check (cont’d)
Power sources: Internal battery, additional external battery, and an inverter pack
Tracheostomy site: Erythema, inflammation, and drainage
Equipment: The nurse doesn’t know where the irrigation packets are, and she’s unable to locate spare tracheostomy.
Notes: INSTRUCTOR NOTES AND TIPS
Power sources: Internal battery, additional external battery, and an inverter pack. Why does this matter to the EMS practitioner?
Tracheostomy type: Uncuffed, dual cannula, secured by tracheostomy tie. Discuss types of tracheostomies and why cuffed and uncuffed matter.
Tracheostomy site: Erythema noted at the site, as well as mild inflammation with drainage noted on the gauze. What does this mean, and what are the treatment options?
Irrigation: Unable to find irrigation saline packets. RT usually handles this. Common or uncommon?
Manual ventilation equipment: BVM is at bedside. A spare tracheostomy for exchange is unavailable. Paramedic units have an ETT and water-based lubricant. How can the EMS practitioner make a change, and what are the options available if needed?

## Slide 10: Pre-transport Check (cont’d)
Records: Incomplete packet; printer jammed
ETCO2: 44 mmHg with a good waveform
SPO2: 94%
Circuit: All components appear to be well connected
Notes: INSTRUCTOR NOTES AND TIPS
Medical records: Partially available in a packet given by the nurse. The nurse states that the printer jammed and they couldn’t finish the packet. How does the EMS practitioner overcome this issue? What is essential documentation, and what is not?
ETCO2: 44 mmHg w/ good wave. Why is this important? Discuss the value of ETCO2 as well as the possible issues with false numbers.
Circuit: Check the circuit and all connections after any move. They all appear to be appropriate. Discuss how important the pre- and postcheck of equipment is for the EMS practitioner in both patient care and documentation aftercare.

## Slide 11: En Route
Patient status: The high-pressure alarm goes off.
ETCO2: 56 mmHg
SPO2: 88%
Notes: INSTRUCTOR NOTES AND TIPS
Patient status: The patient’s high-pressure alarm goes off because of a mucus plug. Initially, the crew cannot pass a catheter through the tracheostomy and has to replace the tracheostomy with an ETT (or asks a transferring nurse or RT to replace the tracheostomy if the crew is BLS). The alarm continues to go off because the patient requires irrigation and deep suctioning in the trachea with a soft suction.
Suction available: Soft suction, suction tubing, suction canister, sterile water available. Ensure suctioning doesn’t occur for more than 10–15 seconds at a time.
Power sources: If they forget to plug in the vent, have the battery alarm activate. Plug in the ventilator and discuss how to utilize the backup battery.
ETCO2: 56 mmHg w/ visible obstruction. Discuss increasing rate or volume to decrease CO2.
SPO2: 88% (dropped due to obstruction). Discuss increasing FiO2.

## Slide 12: En Route (cont’d)
Patient status: The low-pressure alarm goes off.
ETCO2: 56 mmHg
SPO2: 88%
Notes: INSTRUCTOR NOTES AND TIPS
ETCO2: 56 mmHg w/ visible obstruction. Discuss increasing rate or volume to decrease CO2.
SPO2: 88% (dropped due to obstruction). Discuss increasing FiO2.
Circuit: After the high-pressure alarm is managed, the low-pressure alarm goes off due to circuit disconnection. Check the circuit and all connections after any major move or transfer.
Again, discuss the ETCO2 values, SPO2 values, and circuits before and after any movement of the patient.

## Slide 13: Detailed Assessment
S: N/A
A: Peanuts, eggs, sulfa drugs
M: Aspirin, propanolol, Glucophage, Lasix, potassium, warfarin, Diastat, Tegretol, IV vancomycin
P: Diabetes, AMI, HTN, CVA, and seizures
L: 1.5 hours ago
E: Being relocated due to the evacuation
Notes: INSTRUCTOR NOTES AND TIPS
Signs and symptoms: N/A
Allergies: Peanuts, eggs, sulfa drugs
Medications: Aspirin (antiplatelet), propranolol (beta blocker), Glucophage (“metformin” oral antihyperglycemic), Lasix (loop diuretic “water pill”), potassium (“K” used to help lower blood pressure), warfarin (anticoagulant “blood thinner”), Diastat (rectal form of benzodiazepine “valium”), Tegretol (analgesic for trigeminal neuralgia “anticonvulsant or anti-epileptic”), IV vancomycin (antibiotic for bacterial infections)
Past medical history: Diabetes, AMI, HTN, CVA, and seizures
Last oral intake: Tube feeding 1.5 hours ago
Events leading: Being relocated due to the evacuation

## Slide 14: Detailed Assessment (cont’d)
Risk factors?
RR: 10?
Pulse: 68
BP: 116/74
Temperature: 99.2°F
Notes: INSTRUCTOR NOTES AND TIPS
Risk factors: Ventilator and obtunded
Respirations: 10 unless responders adjusted the settings. Continue to discuss the importance of rate and how it must be adjusted if needed.
Pulse: 68. Good or bad? Baseline?
BP: 116/74. Good or bad? Baseline?
Temperature: 99.2ºF. Good or bad? Why would temperature matter with this patient? What would a high temperature mean (sepsis), and how could the EMS practitioner treat it (fluids)?

## Slide 15: Detailed Assessment (cont’d)
3-lead: Sinus w/ occasional PVC
12-lead: Unremarkable
SPO2: 94% on vent
ETCO2: 44 mmHg
Blood glucose: 286
CO: N/A
Notes: INSTRUCTOR NOTES AND TIPS
3-lead: Sinus w/ occasional PVC
12-lead: Unremarkable. Discuss why this is an important consideration.
SPO2: 94% on vent (drops to 88% en route). Discuss the immediate response (DOPE) and long-term response (settings).
ETCO2: 44 mmHg (rises to 56 en route). Discuss the immediate response (DOPE) and long-term response (settings).
Blood glucose: 286. What significance would this number play? What could it possibly mean, and what are the treatment options, if any?
CO: N/A

## Slide 16: Detailed Assessment (cont’d)
HEENT: PERRL; any complications?
Chest: Rhonchi
Abdomen: Unremarkable
Extremities: Unremarkable
Other: Foley catheter and PICC
Notes: INSTRUCTOR NOTES AND TIPS
Head, eyes, ears, nose, and throat: Unremarkable; PERRL; tracheostomy site has erythema, inflammation, and drainage noted
Chest: Rhonchi
Abdomen: Unremarkable
Extremities: Unremarkable
Other: Foley catheter is present with dark-yellow urine. A triple lumen PICC is in her left arm.
  Take a moment to discuss the Foley catheter and its relevance to the patient and the patient’s condition (color, clarity, amount).
  Take a moment to discuss the PICC line and what it means to treatment and treatment options (blood pressure cuffs, usage of the lines, familiarity with locations and complications).

## Slide 17: Arrival at Receiving Facility
Patient status: Breathing adequately
Vent settings: What will you report to the receiving RN?
Medical records: Hand off packet during report.
Equipment transferred: Hand off all equipment.
Notes: INSTRUCTOR NOTES AND TIPS
Patient status: Breathing adequately (assuming previous issue is resolved).
Vent settings: Report vent settings, ventilator complications, and any changes made en route to the receiving RN. Discuss the importance of good documentation and report delivery, especially with aging patients using vents, invasive lines, and Foley catheters.
Medical records: Hand off packet during report.
Equipment transferred: Hand off all equipment from transferring facility including BVM, tracheostomy, and any other equipment. Discuss the importance of having all the equipment available during the transfer of care.

## Slide 18: Arrival at Receiving Facility (cont’d)
Report given and patient moved to receiving bed.
  Circuit: Low-pressure alarm goes off. What could it be?
  ETCO2: 44 mmHg w/ good wave. What else do we check?
Document: What do you document?
  Transfer of patient care: What do you report?
  What do you document and why?
Notes: INSTRUCTOR NOTES AND TIPS
Circuit: When transferring the patient to their bed, a high-pressure alarm goes off due to a circuit kink. Reposition the circuit and check connections. Reinforce the DOPE check (displaced tube, obstruction, pneumo, and equipment).
ETCO2: 44 mmHg w/ good wave
Document: Document ETCO2 and patient status on arrival. Discuss the importance of good documentation:
  Pre- and postmovement
  Pre- and postmovement with an ETT tube or tracheostomy
  Vent settings, alarms, and changes made and why
  Vitals (changes, baseline)
  Interventions

## Slide 19: Case Summary
Ventilators are not common in most EMS calls; however, an EMS practitioner must be familiar with the basic concepts, especially when dealing with the aging population.
When working with an older ventilator patient, suctioning is not only a common practice, but also a very important part of good patient care.

## Slide 20: Case Summary (cont’d)
Understanding basic ventilator functions, as well as the ventilator’s components, will also give the EMS practitioner the knowledge needed for high-quality patient care.